1. Definition (1 Mark)

Electric Shock is a sudden physiological reaction caused when an electric current passes through the body, leading to burns, muscle contractions, breathing difficulty, or even cardiac arrest.

2. Objectives of First Aid (1 Mark)

- To save the victim’s life.

- To prevent further injury.

- To maintain breathing and circulation until medical help arrives.

3. Steps of First Aid for Electric Shock (5 Marks)

Step 1: Disconnect the Power Source

- Turn off the main switch or unplug the device immediately.

- If not possible, use a dry wooden stick, rubber, or plastic to separate the victim from the source.

- Do not touch the victim with bare hands while current is flowing.

Step 2: Ensure Scene Safety

- Stand on a dry surface.

- Avoid metallic or wet areas.

Step 3: Check Responsiveness and Breathing

- Gently tap the victim and ask if they are okay.

- If unconscious but breathing, place in recovery position.

- If not breathing or no pulse, start CPR (30 compressions + 2 breaths).

Step 4: Call for Medical Help

- Dial 108 (India) or local emergency number.

- Inform the type of accident and location.

Step 5: Treat Burns and Injuries

- Look for entry and exit wounds.

- Do not apply ointment or ice.

- Cover with dry sterile cloth.

- Keep the victim warm and still.

4. Precautions (1.5 Marks)

- Never use wet or metal objects during rescue.

- Do not move the victim unnecessarily.

- Avoid giving water or food immediately.

- Keep bystanders away from the area.

6. Conclusion (1 Mark)

Immediate and correct first aid can save the victim’s life and reduce injury severity. Always ensure safety first before assisting an electric shock victim.

[Electric Wire or Appliance]

│

⚡ -----> [Victim lying down]

↑

[Rescuer using wooden stick]

(standing on dry surface)

Labels:

1. Switch off power

2. Use non-conductive stick

3. Check breathing & pulse

4. Perform CPR if needed

5. Cover burns with cloth

electrical Safety Protocols in Train Stations and Swimming Pools

(10 Marks)

1. Introduction

Electrical safety standards are crucial in public areas like train stations and swimming pools, where the risk of electric shock is high due to environmental factors such as moisture, crowd density, and equipment usage.

2. Electrical Safety Protocols in Train Stations

(a) Earthing and Bonding

- All metallic parts of electrical systems are properly earthed to prevent shock hazards.

- Equipotential bonding ensures all conductive parts are at the same potential.

(b) Insulation and Protection

- All cables and switchgear are provided with double insulation.

- Overcurrent protection devices (MCBs, RCCBs) are used.

(c) Signage and Barriers

- Warning signs and restricted access barriers are placed near high-voltage areas (like overhead lines, substations).

(d) Regular Maintenance and Inspection

- Periodic inspection of transformers, lighting, and wiring systems to detect insulation failure or overheating.

(e) Emergency Power and Lighting

- Backup systems (UPS, diesel generators) ensure continuous lighting and safe evacuation during power failure.

(f) Standards Followed

- IEC 60364, IEEE Std 80, NFPA 70E, Indian Electricity Rules, IS 3043 (Earthing Code).

3. Electrical Safety Protocols in Swimming Pools

(a) Low Voltage Equipment

- Electrical equipment near pools operates below 12V (AC) or 30V (DC) for safety.

(b) Equipotential Bonding

- All metallic parts (handrails, ladders, lights) are bonded to maintain equal potential and avoid shock.

(c) Ground Fault Protection

- RCCBs/GFCIs are installed to trip within milliseconds during leakage current.

(d) IP Rated Equipment

- Equipment must have IPX7 or higher rating (waterproof enclosures).

(e) Safe Lighting Design

- Underwater and surrounding lights are sealed, low-voltage, and properly insulated.

(f) Standards Followed

- IEC 60364-7-702, NFPA 70 (NEC) Article 680, IS 732 (Code of Practice for Electrical Wiring Installations).

[Train Station]

-----------------------------

| Transformer -- MCB -- RCCB |

|  |                        |

|  |--> Lights (Earthed)    |

-----------------------------

[Swimming Pool]

-----------------------------

| 12V Pool Light (Waterproof)|

| RCCB --> Earthing System   |

| Ladder --> Bonding Wire    |

-----------------------------

Earthing in Electrical Installations

1. Introduction (Definition)

- Earthing (or Grounding) is the process of connecting the exposed metal parts of electrical equipment to the earth using a conductor.

- It provides a low-resistance path for fault current to flow safely into the ground.

2. Importance of Earthing

| Point | Explanation |
| --- | --- |
| 1. Protection from Electric Shock | Prevents dangerous voltage on equipment surfaces, protecting people from electric shock. |
| 2. Equipment Protection | Diverts fault current, preventing damage to appliances and wiring. |
| 3. Fire Prevention | Reduces risk of fire due to leakage currents or short circuits. |
| 4. Voltage Stabilization | Maintains constant voltage during fault conditions. |
| 5. Lightning Protection | Provides safe discharge path for lightning and surges. |

3. Common Methods of Earthing

| Method | Description | Used In |
| --- | --- | --- |
| 1. Plate Earthing | A copper or galvanized iron (GI) plate (600 mm × 600 mm × 3 mm) is buried vertically in the earth and connected with a wire. | Homes, offices |
| 2. Pipe Earthing | A GI pipe (2.5–3 m long) is placed vertically in the ground and surrounded by charcoal and salt. | Residential & public buildings |
| 3. Rod Earthing | A copper or steel rod (up to 3 m) driven into the ground for effective earthing. | Temporary or rocky areas |
| 4. Strip or Wire Earthing | GI or copper strip buried horizontally in trenches for large installations. | Substations, industries |

Ground Level

------------------------

||  <-- GI Pipe

||

||  <-- Charcoal & Salt Mixture

||

GI Wire ||  <-- Connected to Equipment

||

------------------------

Moist Earth Layer

5. Factors Affecting Good Earthing

- Soil resistivity (moist soil gives better earthing)

- Depth and size of electrode

- Use of salt and charcoal to reduce resistance

- Regular maintenance and watering

6. Conclusion

Earthing is a vital safety practice in all electrical systems.
It ensures human safety, protects equipment, and stabilizes system voltage — making it essential in homes, public buildings, and industries.